09A – Metal Studs & Drywall (Addendum 2 – 2.11.25)

To: 	Attn: Jeremiah Daniels, Project Executive

Project: Rosewood Middle School – New/Renovated Middle School

541 North Carolina 581 S, Goldsboro, NC 27530

From (Company Name):

(Address & Phone #):

Having carefully examined the site, the drawings, specifications and other documents, and in compliance with your "Invitation to Bid" and this “Bid Form”, the undersigned proposes to furnish all labor, materials, supplies and equipment necessary for the construction of the New/Renovated Rosewood Middle School. All shall be in accordance with bid documents prepared by Davis Kane Architects.

The Bidder shall have bid and completed projects of comparable nature, size, complexity and construction cost.

The scope of work is to include:

- Provide and install all gypsum wallboard assemblies complete inclusive of, but not limited to:

  - All cold formed framed and light gauge metal wall and ceiling systems

  - All accessories, bolts, hangers, clips, and epoxy for a complete framing system

  - All gypsum board and accessories

  - Blocking – Inclusive of but not limited to; all blocking and/or strapping required for exterior sunshade connections, exterior blocking at window openings, casework, markerboard/tackboards, bathroom accessories, owner provided appliances and TVs, hose reels, toilet partitions, data equipment, AV equipment, hand rails, grab rails, and fire extinguisher cabinets, shelving assemblies or as otherwise required by the plans and specifications and subcontractor shop drawings.

  - Exterior sheathing

  - Infill framing on block walls

  - All tile backer board

  - All batt insulation within wall and scope related ceiling systems

  - All sound insulation

  - All sound attenuation insulation

  - Ensure all STC ratings are met. (Provide all labor and materials necessary)

  - All rigid insulation and wall flashing will be provided by the masonry contractor.

  - Acoustical and thermal sealants as required by the plans and specifications

  - Provide all fire resistive joints and expansion joints, and expansion joint covers for drywall assemblies as applicable

  - Provide installation of hollow metal frames in metal stud wall assemblies

  - Guarantee all window rough openings within ¼" of the window installer’s approved shop drawings

  - All painting to be performed by others

  - Provide engineered shop drawings for all structural components

  - Remove all scope related materials and debris as directed by the CM

    - Provide dumpster for all scope related debris

Proposal shall allow for repair of damages for up to 5% of all finished surfaces at no additional cost. This excludes any damages for which the responsible party has been identified.

Specification Sections:

- Division 00: Procurement and Contracting Requirements

- Division 01: General Requirements

- Division 05: Metals

  - 05 12 00 – Structural Steel Framing

  - 05 40 00 – Cold-Formed Metal Framing

- Division 06: Wood, Plastics, and Composites

  - 06 10 00 – Rough Carpentry

  - 06 16 00 – Sheathing

- Division 07: Thermal and Moisture Protection

  - 07 21 00 – Thermal Insulation

- Division 08: Openings

  - 08 31 13 – Access Doors and Frames

- Division 09: Finishes

  - 09 22 16 – Non-Structural Metal Framing

  - 09 29 00 – Gypsum Board

- All other sections as they relate to the work within the prescribed scope of work.

Drawings Sheets

- All drawings as they pertain to the scope of work

Bidder shall anticipate:

- CM to provide a General Construction debris container. (Any special waste disposal shall be the responsibility of the subcontractor.) All debris and trash shall be removed from the workspace daily by the subcontractor.

- Subcontractor to provide all equipment, materials, labor, and storage required to complete their scope.

- The subcontractor shall be responsible for leaving the workspace in an organized and broom swept condition daily.

- Subcontractor shall inspect the workspace prior to beginning their scope. If unacceptable conditions are observed, it is the duty of the subcontractor to notify the CM’s on-site management team. Any work performed over unacceptable conditions will be the responsibility of the installer to replace/repair.

- There will be a restricted access zone between the plan East side of Area A and NC-581 due to overhead power lines. No equipment shall be operated in this area without prior authorization from CM. (Addendum 2)

The Bid Form must be completed in blue or black ink or by typewriter. The base bid amount shall be expressed in written and numerical form. Discrepancies in the multiplication of units of work, and the unit prices will be resolved in favor of the correct multiplication of the unit prices. Discrepancies between the indicated sum of any column of figures and the correct sum thereof will be resolved in favor of the correct sum.

Bid numbers shall be honored by the bidding party for no less than 60 days after bid submission.

All bids in excess of Five Hundred Thousand USD ($500,000.00) will require a Bid Bond to be provided by the Subcontractor in the amount of 5% of the bid value.

Base Bid (100% Turnkey, inclusive, but not limited to):

The Base bid, all the Metal Stud and Drywall work required by the Bid Documents, in strict accordance with the drawings and specifications for the Lump Sum of:

Dollars 									$

Alternates (100% Turnkey, inclusive, but not limited to):

| Alternate Description | Cost |
| --- | --- |
| Alt No 1: Two-story building expansion to the south end of Area A. | $___________ |
| Bid Alternate No. 2: A/B Connector and Area B Alteration | $___________ |
| Bid Alternate No 3: New Area B standing-seam metal roof system, metal wall panels, gutters, and downspouts. | $___________ |
| Bid Alternate No 4A: VCT flooring and resilient base in corridors in Areas A (Base Bid Building Footprint), C and D; and in Dining. Tile carpet flooring and resilient base in Reception. | $___________ |
| Bid Alternate No 4B: VCT flooring and resilient base in corridors in Areas A Building Expansion (Bid Alternate No. 1). | $___________ |
| Bid Alternate No. 5: Fire Alarm System | $___________ |
| Bid Alternate No. 6: Building Automation System (BAS) | $___________ |
| Bid Alternate No. 7: Door Cylinders and Locks | $___________ |
| Bid Alternate No. 8: Door Exit Devices | $___________ |
| Bid Alternate No. 9: Door Closers | $___________ |
| Bid Alternate No. 10: Door Overhead Stops & Magnetic Holders | $___________ |

| D&D Alternate | Cost |
| --- | --- |
| D&D Alternate #1 Payment and Performance Bond(100% bid value) | $___________ |

Note: If Payment and Performance Bond cannot be provided, enter “NA” in the line above

RECEIPT OF ADDENDA

We acknowledge the receipt of the following Addenda and Bulletins:

Addendum No.			Dated

Addendum No. 			Dated

TIME OF COMPLETION:

All Work shall be completed in accordance with the Construction Manager’s published progress schedule. Deviations from the construction progress schedule without prior written permission will be perceived as intentional delays of progress and will yield the responsible party subject to fines to cover the Construction Manager’s General Conditions for related time delays. All work shall be Substantially Complete and certified by the Architect within 550 calendar days of NTP. Final Completion of all Work shall be within 30 calendar days after the date of Substantial Completion.

By bidding in response to this invitation, the bidder acknowledges that they have received, thoroughly reviewed, and accept the terms and conditions of the attached sample Subcontract Agreement as well as the sample D&D Procedural Manual.

By bidding in response to this invitation, the bidder represents that in the preparation and submission of this bid, said bidder did not, either directly or indirectly, enter into any combination or arrangement with any person, firm or corporation or enter into any agreement, participate in any collusion, or otherwise take any action in the restraint of free, competitive bidding in violation of the Sherman Act (15 U.S.C. Section 1) or North Carolina State Code.

NAME OF BIDDER:

ADDRESS:

LICENSE #:

TAXPAYER NUMBER (TIN):

SIGNATURE:

NAME (print):

TITLE:

TELEPHONE:

E-MAIL:

FAX:

DATE: