10A – Toilet Accessories & Architectural Items (Addendum 2 – 2.11.25)

To: 	Attn: Jeremiah Daniels, Project Executive

Project: Rosewood Middle School – New/Renovated Middle School

541 North Carolina 581 S, Goldsboro, NC 27530

From (Company Name):

(Address & Phone #):

Having carefully examined the site, the drawings, specifications and other documents, and in compliance with your "Invitation to Bid" and this “Bid Form”, the undersigned proposes to furnish all labor, materials, supplies and equipment necessary for the construction of the New/Renovated Rosewood Middle School. All shall be in accordance with bid documents prepared by Davis Kane Architects.

The Bidder shall have bid and completed projects of comparable nature, size, complexity and construction cost.

The scope of work is to include:

- Provide and install all

  - Toilet accessories

  - Toilet partitions

  - Fire extinguishers

  - Fire extinguisher cabinets

  - Corner guards (Excludes kitchen corner guards)

  - Interior Aluminum expansion joint covers (Includes all wall and ceiling expansion joint covers)

    - Exterior expansion joint covers under package 04A

  - Flag poles (concrete for the base provided and installed by others) To be covered under 32C.

  - Mirrors

  - Adult Changing Stations

  - Marker/tack boards

  - Display cases

  - All required accessories and hardware

- Remove all scope related materials and debris as directed by the CM

Specification Sections:

- Division 00: Procurement and Contracting Requirements

- Division 01: General Requirements

- Division 07: Thermal and Moisture Protection

  - 07 95 13.13 - Interior Expansion Joint Cover Assemblies

  - 07 95 13.16 - Exterior Expansion Joint Cover Assemblies

- Division 10: Specialties

  - 10 11 00 – Visual Display Units

  - 10 12 00 – Display Cases

  - 10 21 13.19 - Plastic Toilet Compartments

  - 10 26 00 – Wall and Door Protection

  - 10 28 00 – Toilet, Bath, and Laundry Accessories

  - 10 44 13 – Fire Protection Cabinets

  - 10 44 16 – Fire Extinguishers

- All other sections as they relate to the work within the prescribed scope of work.

Drawings Sheets

- All drawings as they pertain to the scope of work

Bidder shall anticipate:

- CM to provide a General Construction debris container. (Any special waste disposal shall be the responsibility of the subcontractor). All debris and trash shall be removed from the workspace daily by the subcontractor.

- Subcontractor to provide all equipment, materials, labor, and storage required to complete their scope.

- The subcontractor shall be responsible for leaving the workspace in an organized and broom swept condition daily.

- Subcontractor shall inspect the workspace prior to beginning their scope. If unacceptable conditions are observed, it is the duty of the subcontractor to notify the CM’s on-site management team. Any work performed over unacceptable conditions will be the responsibility of the installer to replace/repair.

- There will be a restricted access zone between the plan East side of Area A and NC-581 due to overhead power lines. No equipment shall be operated in this area without prior authorization from CM. (Addendum 2)

The Bid Form must be completed in blue or black ink or by typewriter. The base bid amount shall be expressed in written and numerical form. Discrepancies in the multiplication of units of work, and the unit prices will be resolved in favor of the correct multiplication of the unit prices. Discrepancies between the indicated sum of any column of figures and the correct sum thereof will be resolved in favor of the correct sum.

Bid numbers shall be honored by the bidding party for no less than 60 days after bid submission.

All bids in excess of Five Hundred Thousand USD ($500,000.00) will require a Bid Bond to be provided by the Subcontractor in the amount of 5% of the bid value.

Base Bid (100% Turnkey, inclusive, but not limited to):

The Base bid, all the Toilet Accessories and Architectural Items work required by the Bid Documents, in strict accordance with the drawings and specifications for the Lump Sum of:

Dollars 									$

Alternates (100% Turnkey, inclusive, but not limited to):

| Alternate Description | Cost |
| --- | --- |
| Alt No 1: Two-story building expansion to the south end of Area A. | $___________ |
| Bid Alternate No. 2: A/B Connector and Area B Alteration | $___________ |
| Bid Alternate No 3: New Area B standing-seam metal roof system, metal wall panels, gutters, and downspouts. | $___________ |
| Bid Alternate No 4A: VCT flooring and resilient base in corridors in Areas A (Base Bid Building Footprint), C and D; and in Dining. Tile carpet flooring and resilient base in Reception. | $___________ |
| Bid Alternate No 4B: VCT flooring and resilient base in corridors in Areas A Building Expansion (Bid Alternate No. 1). | $___________ |
| Bid Alternate No. 5: Fire Alarm System | $___________ |
| Bid Alternate No. 6: Building Automation System (BAS) | $___________ |
| Bid Alternate No. 7: Door Cylinders and Locks | $___________ |
| Bid Alternate No. 8: Door Exit Devices | $___________ |
| Bid Alternate No. 9: Door Closers | $___________ |
| Bid Alternate No. 10: Door Overhead Stops & Magnetic Holders | $___________ |

| D&D Alternate | Cost |
| --- | --- |
| D&D Alternate #1 Payment and Performance Bond(100% bid value) | $___________ |

Note: If Payment and Performance Bond cannot be provided, enter “NA” in the line above

RECEIPT OF ADDENDA

We acknowledge the receipt of the following Addenda and Bulletins:

Addendum No.			Dated

Addendum No. 			Dated

TIME OF COMPLETION:

All Work shall be completed in accordance with the Construction Manager’s published progress schedule. Deviations from the construction progress schedule without prior written permission will be perceived as intentional delays of progress and will yield the responsible party subject to fines to cover the Construction Manager’s General Conditions for related time delays. All work shall be Substantially Complete and certified by the Architect within 550 calendar days of NTP. Final Completion of all Work shall be within 30 calendar days after the date of Substantial Completion.

By bidding in response to this invitation, the bidder acknowledges that they have received, thoroughly reviewed, and accept the terms and conditions of the attached sample Subcontract Agreement as well as the sample D&D Procedural Manual.

By bidding in response to this invitation, the bidder represents that in the preparation and submission of this bid, said bidder did not, either directly or indirectly, enter into any combination or arrangement with any person, firm or corporation or enter into any agreement, participate in any collusion, or otherwise take any action in the restraint of free, competitive bidding in violation of the Sherman Act (15 U.S.C. Section 1) or North Carolina State Code.

NAME OF BIDDER:

ADDRESS:

LICENSE #:

TAXPAYER NUMBER (TIN):

SIGNATURE:

NAME (print):

TITLE:

TELEPHONE:

E-MAIL:

FAX:

DATE: